## Slide 1
Dental Layout Template 0.30” = 1 ft
Rooms up to 32 x 25 feet
Please note - these layouts are intended to represent individual company workflows only and do not address facility and safety regulations.
Stainless steel workbench 60x30x35”
Link
Stainless steel workbench 36x24x35”
Link
Solid waste can
24 gallon
Legacy pour stand
(M1 & M2 only) 11x12x18”
Wall mount coat rack
Eyewash station 20x20x26”
Link
Portable fume extractor
13x15.5x16.5”
Link
Storage cabinet
(wall mount)
36x14x27”
Link
Wire shelf 30x18x72”
Wire shelf 36x18x72”
Storage cabinet 36x18x72”
Link
Lab coat rack 48x18x69”
Stainless steel
wall-mount sink
17x15.25x25.125”
Link
M2 series printer (with clearances)
60x60x70”
Door (left swing)
36”
Orbital
shaker
10.8x13.6x3.93”
Dreve
PCU LED
15.3x10.9x4.3”
Door (right swing)
36”
Electrical
Ventilation
Network
Compressed Air
Solid waste can
13 gallon
Link
M-Series Pour stand on table 30x24x51”
M3 printer (with recommended clearances)
50x74x70”
M3 printer (with
minimum clearances)
50x65x70”
V02.10
15 MARCH 2023
Flammable cabinet
43x18x44”
Link
Flammable cabinet
35x22x35”
Link
Flammable cabinet
23.25x18x35”
Link

## Slide 2
17 ft
Resin Handling and
Part Washing Station
Orbital shaker
Pour stand
17 ft
6 ft
Curing Station
Dreve PCU LED
Portable fume
extractors
Waste Can
20.5 ft
6 ft
Curing Station
Dreve PCU LED
Sample Layout: (1) M3 / M3 Max Printer
Sample Layout: (2) M3 / M3 Max Printers
Coat rack
Eye Wash Station
Sink
(optional)
Gowning area should be adjacent to production space
Wall mounted storage cabinet over flammable cabinet
Wall mounted storage cabinet over flammable cabinet
M3 / M3 Max printer
Portable fume
extractor
Resin Handling and
Part Washing Station
Orbital shaker
Pour stand
M3 / M3 Max printers
Waste Can
Coat rack
Eye Wash Station
Sink
(optional)
Gowning area should be adjacent to production space
Electrical
Ventilation
Network
Compressed Air

## Slide 3
17 ft
20.5 ft
Sample Layout: (1) M1 / M2 Printer
Sample Layout: (2) M1 / M2 Printers
Coat rack
Eye Wash Station
Sink
(optional)
Gowning area should be adjacent to production space
Coat rack
Eye Wash Station
Sink
(optional)
Gowning area should be adjacent to production space
Electrical
Ventilation
Network
Compressed Air
M1 / M2 printer
Portable fume
extractor
Resin Handling and
Part Washing Station
Orbital shaker
Pour stand
17 ft
Curing Station
Dreve PCU LED
Portable fume
extractors
Waste Can
Resin Handling and
Part Washing Station
Orbital shaker
Pour stand
Curing Station
Dreve PCU LED
Wall mounted storage cabinet over flammable cabinet
Wall mounted storage cabinet over flammable cabinet
M1 / M2 printers
6 ft
6 ft

## Slide 4
M3 / M3 Max printers
Portable fume
extractor
Waste Can
14 ft
10 ft
Curing Station
Dreve PCU LED
Sample Layout: (2) M3 / M3 Max Printers
Resin Handling and
Part Washing Station
Coat rack
Eye Wash Station
Sink
(Optional)
Wall mounted storage cabinet over flammable cabinet
Waste Can
12 ft
10 ft
Curing Station
Dreve PCU LED
Sample Layout: (1) M3 / M3 Max Printer
Coat rack
Wall mounted storage cabinet over flammable cabinet
Resin Handling and
Part Washing Station
Orbital shaker
Pour stand
Eye Wash Station
Sink
(Optional)
Portable fume
extractor
M3 printer
(min.clearances)
Orbital shaker
Electrical
Ventilation
Network
Compressed Air

## Slide 5
Electrical
Ventilation
Network
M Series printers
Portable fume
extractor
Waste Can
14 ft
10 ft
Curing Station
Dreve PCU LED
Sample Layout: (2) M2 Printers
Resin Handling and
Part Washing Station
Orbital shaker
Pour stand
Coat rack
Eye Wash Station
Sink
(Optional)
Wall mounted storage cabinet over flammable cabinet
Waste Can
12 ft
10 ft
Curing Station
Dreve PCU LED
Sample Layout: (1) M2 Printer
Coat rack
Wall mounted storage cabinet over flammable cabinet
Resin Handling and
Part Washing Station
Orbital shaker
Pour stand
M Series printer
Eye Wash Station
Sink
(Optional)
Portable fume
extractor

## Slide 6
Electrical
Ventilation
Network
Compressed Air